LOYOLA COLLEGE (AUTONOMOUS), CHENNAI – 600 034

M.Sc. DEGREE EXAMINATION – PHYSICS

THIRD SEMESTER – NOV 2006

# CH 3900 - INSTRUMENTAL ANALYSIS (FOR PHYSICS)

Date & Time : 03-11-2006/9.00-12.00     Dept. No. 	Max. : 100 Marks

PART – A

Answer ALL the questions 							(10 x 2 = 20 marks)

- A sample of well water is found to contain 0.5000 g CaCO3 in 1 kg water sample.  Find out the concentration of calcium in (g mL-1.

- What is the pH of a solution containing 400 mg NaOH in 100 mL H2O.

- Explain red shift with an example.

- Mention the cell and detector used in IR spectroscopy.

- Compare the solubility of Agcl(s) in (i) pure H2O  (ii) 0.1 M aq. KCl and (iii) 0.1 m aq. KNO3.

- Mention factors which influence the quality of crystals obtained during recrystallization.

- How is adsorption different from absorption?

- What is retention factor in chromatography?  What is its significance?

- Why is low pressure distillation used to purify some compounds?

- Give the general principles of thermal analytical techniques.

PART – B

Answer any EIGHT questions 						(8 x 5 = 40 marks)

- How is 1.0000 m HCl prepared from con. HCl?

- Drive Beer Lambert’s law.  How is it verified?

- Explain the principle of flame photometry.

- Determine the solubility of lead iodide in 0.0100 m aq. Pb(NO3)2 . Ksp of pbI2 is 1 ( 10-10 mol3 dm-9.

- A solution containing 8.75 ppm KMnO4 has a transmittance of 0.743 in a 1 cm cell at 520 nm.  Calculate the molar absorptivity of KMnO4.

- What is the molarity of commercial H2SO4, containing 98% by weight with specific gravity 1.84 g mL-1.

- What is fractional distillation?  What are its advantages and limitations?

- Explain mobile phase, immobile phase, eluent and detection of compounds in paper chromatography.

- How is column for column chromatography prepared?  What are substances generally used to prepare these columns?

- How are compounds extracted from parts of plants?

- Discuss factors affecting DTA curves.

- Write notes on (i) sublimation (ii) thermometric titrations.

PART – C

Answer any FOUR questions.					(4 x 10 = 40 marks)

- How is the pH of a solution determined using potentiometer?

- Draw the flow sheet diagram of UV-visible double beam spectrophotometer and explain the function of the components.

- (a) Draw the thermogram of CaC2O4.H2O(s) and explain.

(b) Explain the factors affecting thermogram.

- Explain steam distillation taking isomers of nitrophenol as examples.

- Write an essay on ion-exchange chromatography and its applications.

- Write notes on:

(i)  Molarity and Normality

(ii) Common ion effect

(iii)Thermal Conductivity Detector						(3 + 3 + 4)

_____________________

# Text boxes

AD 26